Water System Name

Parish, Louisiana

Contingency Plan

Source Water/Wellhead Protection Contingency Plan

Providing Alternative Drinking Water Supplies

Date

Prepared By:

Louisiana Rural Water Association

P.O. Box 180 – Kinder, LA  70648

1-800-256-2591

1.0	Purpose	3

2.0	Water Supply Information	4

2.1	Basic Water System Information	4

2.2	Current Sources of Supply	5

2.3	Treatment	5

2.4	Storage	5

2.5	Power Sources	5

2.6	Description of System Operation	6

2.7	Distribution System	6

3.0	Priority of Water Users	7

4.0	Short Term Replacement Alternatives	8

5.0	Inventory of Available Equipment and Materials	9

5.1	Equipment and Materials	9

5.2	Contractor/Contracted Service Providers	9

6.0	Notification Procedures	10

6.1	Incident Assessment Team	10

6.2	Emergency Contact List	10

6.3	DHH Contacts	11

6.4	Public Announcement Plan	11

Appendices	12

A.	Media/Consumer Notifications:	13

B.	Event And Action Log:	15

C.	Sample Boil Advisory	16

D.	Complete List of DHH Contacts	19

# 1.0	Purpose

The purpose of this Contingency plan is to establish, provide and keep updated certain emergency response procedures, which may become necessary in the event of a partial or total loss of public water supply service as a result of natural disasters, chemical contamination, or civil disorders. This Contingency Plan is the procedural guide for responding to such emergencies.

Review and update annually

| DATE OF REVIEW | REVIEWER | COMMENTS OR CHANGES |
| --- | --- | --- |

# 2.0	Water Supply Information

## 2.1	Basic Water System Information

| System Identification | PWS ID # |  |
| --- | --- | --- |
| System Name & Address |  |  |
| Contact Information | ______-______-________ | Email: |
| Basic description and location of system facilities | The __________________ has _____ groundwater wells of _____’ – _____’ in the _________________________ Aquifer(s) which are located _________________________________________________________ |  |
| Population served and number of service connections | __________ people | __________ connections |
| Average & Maximum Daily Demands | __________ gpd | __________ gpd |
| System Owner |  |  |
| Primary Contact | __________________ Manager/Operator | ________________ Cell |
| Decision Maker |  | ________________ Cell |

System History:

## 2.2	Current Sources of Supply

| Owner Well Name |  |  |  |  |
| --- | --- | --- | --- | --- |
| DNR Well # |  |  |  |  |
| DHH ID# |  |  |  |  |
| Depth (ft.) |  |  |  |  |
| Aquifer |  |  |  |  |
| Diameter (in.) |  |  |  |  |
| Drill Date |  |  |  |  |
| Capacity (gpm) |  |  |  |  |
| Location |  |  |  |  |
| GPS |  |  |  |  |
| Water Level & Date taken |  |  |  |  |

## 2.3	Treatment

The only currently applied treatment is chlorination for disinfection.  Treatment can be expanded or modified if necessary.

## 2.4	Storage

| Type of Storage Facility | Location | Capacity |
| --- | --- | --- |

## 2.5	Power Sources

| Normal |  |
| --- | --- |
| Emergency (Location & Size) |  |

## 2.6	Description of System Operation

Describe:  The ______________________________________ water system is supplied by ________ (_____) wells that are operated automatically and are able to meet the needs of the people.   The wells can be isolated from the system by valves if necessary.

## 2.7	Distribution System

Describe:  The distribution system consists of PVC mains ranging from _____ to _____ and about __________ miles of distribution pipe.     There are valves throughout the system to isolate areas of concern.  There are approximately ________ fire hydrants located throughout the system and approximately ________ flush valves located on the dead end mains for flushing.

# 3.0	Priority of Water Users

| Top Priority |  |  |
| --- | --- | --- |
| Other Systems Served |  | ____________ gpd |

# 4.0	Short Term Replacement Alternatives

| Alternative Sources | A possible tie-in can be made to the _______________ system by a __________ valve or meter on ____________ Rd and __________ Rd, the systems are within ______________ feet of each other. |
| --- | --- |
| Surface Water Source and Necessary Treatment |  |
| Bottled Water |  |
| Other Alternatives |  |

# 5.0	Inventory of Available Equipment and Materials

## 5.1	Equipment and Materials

The system keeps pipe, repair coupling and all necessary repair parts to repair any water line emergencies.

## 5.2	Contractor/Contracted Service Providers

| Service | Provider | Contact |
| --- | --- | --- |
| LaWARN |  | 1-800-256-2591 |
| Chemicals |  |  |
| Electrical |  |  |
| Wells & Pumps |  |  |
| Controls |  |  |

# 6.0	Notification Procedures

## 6.1	Incident Assessment Team

| Contact Person | Title | Contact |
| --- | --- | --- |

## 6.2	Emergency Contact List

| Organization | Contact Person | Contact Phone |
| --- | --- | --- |
| __________Parish Fire Dept. |  |  |
| Energy Supplier |  |  |
| School Board |  |  |
| Sheriff/Police |  |  |
| Police Jury |  |  |
| Allen Parish OEP/ Homeland Security |  |  |
| Louisiana Rural Water Association | Susan Robbins | 800-256-2591 Email: LaRWA@centurytel.net Website: www.lrwa.org |

## 6.3	DHH Contacts

| Engineering Service Main Line | 225-342-7499 225-342-8355 Fax: 225-342-7303 |
| --- | --- |
| District Engineer |  |
| Regional Office |  |
| __________ Parish |  |

## 6.4	Public Announcement Plan

After incident has been identified by the “Incident Assessment Team” and determined to be a hazard to public health, then all Local media outlets will be notified.

| Media Type | Contact |
| --- | --- |
| Television |  |
| Newspaper |  |
| Radio |  |
| Social Media |  |
| Website |  |
| Automated Caller/Dialer |  |

# Appendices

- Media/Consumer Notifications

- Event and Action Log

- Sample Boil Advisory

- Complete DHH Contact List

## Media/Consumer Notifications:

1.	Primary spokesperson for the media and public comment in the event of a contamination incident.

Name _______________________________

Title ________________________________

Address _____________________________

Home Phone _________________________    Work Phone ______________________

Cell Phone __________________________

2.	Information checklist to be conveyed to the public and media

- Name of water system ______________________________________________

- Contaminant of concern and date______________________________________

- Source of contamination  ____________________________________________

- Public health hazard ________________________________________________

- Steps the public can take_____________________________________________

- Steps the water system is taking_______________________________________

- Other information__________________________________________________

Communication Tips

Designate a spokesperson and alternates

Do:

- Be prepared.

- Designate a spokesperson.

- Provide complete, accurate, and timely information.

- Tell the truth.

- Express empathy.

- Acknowledge uncertainty and offer to get back with more information

later.

- Document your communications.

Do not:

- Speculate on the cause or outcome of an incident.

- Blame or debate.

- Minimize or brush off concerns of customers.

- Treat inquiries from interested parties as an annoying distraction from

the real business of emergency response.

Example: Key messages

Develop possible messages in advance, and update them as the emergency develops:

• We are taking this incident seriously and doing everything we can to resolve it.

• Our primary concern is protecting our customers’ health.

• Another important concern is keeping the system operational and preventing 	damage.

• What we know right now is ____________________

• The information we have is incomplete. We will keep you informed as soon as we 	know more.

• We have contacted state and local officials to help us respond effectively.

• If you think you may be ill or need medical advice, contact a physician.

• We are sampling the water and doing tests to determine whether there is 	contamination.

• Etc.

## Event And Action Log:

| Type of Event: |  |  |  |
| --- | --- | --- | --- |
| Location: |  |  |  |
| Date: |  | Time: |  |
| Action Taken: |  |  |  |
| Contract Services Used: |  |  |  |
| Costs: (system’s own forces) |  |  |  |
| Labor |  |  | $ |
| Equipment |  |  | $ |
| Materials |  |  | $ |
| Contracted Services |  |  | $ |
| Total Cost of Event |  |  | $ |
| Evaluation/Lessons Learned: |  |  |  |

## Sample Boil Advisory

## Complete List of DHH Contacts